## Slide 1: Proposed South Carolina Grid Resilience Grant Program
BIL 40101(d) Formula Grant
Public Hearing | November 7, 2022

## Slide 2: TODAY is about…
Sharing our proposed approach for South Carolina’s Application for Bipartisan Infrastructure Law 40101(d) Formula Grant
Getting your input to the proposed objectives, criteria, and metrics
Proposed GRG Program, BIL 40101(d)

## Slide 3: Agenda
Introductions
Bipartisan Infrastructure Law 40101(d) Overview
Proposed Grid Resilience Grant Program
  Strategic Approach
  Implementation
Open Floor
Next Steps
Infrastructure Investment and Jobs Act (IIJA), Pub. L. No. 117-58 (Nov. 15, 2021), Sec. 40101(d) (codified at 42 U.S.C. 18711(d)), available at https://www.congress.gov/bill/117th-congress/house-bill/3684/text.

## Slide 4: Presenting
Stewart Ramsay
Facilitator
Vanry Associates
Vicky Budreau
Sr. Director, Wholesale & Industrial Customer Service
Greg Edwards
Associate General Counsel
Chris Wagner
Director, Transmission Planning, Research & Development
Proposed GRG Program, BIL 40101(d)

## Slide 5: Guidance for participation
Zoom Platform Functionality - why this format?
Use the Q&A for comments or questions during the presentation – we have a team of people to answer your questions
We will open the floor throughout the meeting – use the Raise Hand if you would like the chance to speak, we will unmute you and welcome you to turn on your video if you are able and inclined to do so
Throughout we will use the Polling feature to get your feedback on some questions we have
We will ask for your final thoughts and meeting input in an Exit Survey
Meeting video, audio and written comments/questions will be recorded and shared publicly following the meeting
Proposed GRG Program, BIL 40101(d)

## Slide 6: Bipartisan infrastructure law OVERVIEW
IIJA Section 40101(d)

## Slide 7: Grid Resilience
Significant value in having customers more resilient to severe weather events
Safety
  Continued provisions of essential services (electricity, water, sewer)
  Access to food, fuel
  Access to medical facilities
Economic
  Reduced damage to property
  Reduced risk of lost income
  Mitigation to increases in costs of essential services & insurance
Federal and State Governments focused on making the grid more resilient
  Bipartisan Infrastructure Law provides $5 Billion for electric grid resiliency
  Approximately 50% of that for States, Territories, and Tribes to harden the grid nationwide
Notes: The Preventing Outages and Enhancing the Resilience of the Electric Grid Grants are designed to make grants to eligible entities, States, and Tribes to prevent outages and enhance the resilience of the electric grid.

## Slide 8: Grid Resilience Initiative
Formula Grants Summary
States, Territories, & Tribes
  $2.3B allocated for 40101(d) (approx. $459M/year, FY 2022-2026)
  Year 1, at least $5.2M for South Carolina
  15% match by Santee Cooper on behalf
  of South Carolina
  Up to 5% for Technical Assistance
Legislation set five-part formula
  based on population, area, probability of disruptive events, severity of disruptive events & expenditure on mitigation efforts
States, Territories & Tribes need to submit to DOE for approval
  May grant subawards to eligible entities for projects
BIL : DOE GOALS
Improve energy resilience to all hazards in U.S. & mitigate climate-related risk
Invest in modernized grid infrastructure & extend customer access to lower-cost energy
Invest in clean energy and decarbonization (2035/2050)
Create good-paying jobs with free & fair choice to join a represented workforce
Proposed GRG Program, BIL 40101(d)
Notes: Federal - $5,212,483
SC 15% match – $781,872
Total - $5,994,355

## Slide 9: 40101(d) Program Narrative Guidance
SUB-GRANTS MAY SUPPORT A WIDE RANGE OF INVESTMENTS
Proposed GRG Program, BIL 40101(d)
Improve resilience of the electric grid against disruptive events*
weatherization technologies & equipment fire-resistant technologies & fire prevention systems monitoring & control technologies undergrounding of electrical equipment utility pole management relocation of power lines or reconductoring of power lines with low-sag, advanced conductors vegetation & fuel-load management use or construction of distributed energy resources for enhancing system adaptive capacity during disruptive events microgrids, & battery-storage subcomponents adaptive protection technologies advanced modeling technologies hardening of power lines, facilities, substations & other systems replacement of old overhead conductors & underground cables
INELIGIBLE PROJECT TYPES
Construction of new generating facility or large-scale battery-storage facility
Cybersecurity
LIMITATION
Amount to be no greater than the total amount spent three years prior on efforts to reduce the likelihood and consequences of disruptive events
*Per BIL section 40101(a)(1),14
a disruptive event is “an event in which operations of the electric grid are disrupted, preventively shut off, or cannot operate safely due to extreme weather, wildfire, or a natural disaster.”

## Slide 10: 40101(d) Program Narrative Guidance
Electric grid operators
Electricity storage operators
Electricity generator
Transmission owners or operators
Distribution providers
Fuel suppliers
Other relevant entities as determined by the Secretary
Eligible entities for subawards
Proposed GRG Program, BIL 40101(d)
An eligible entity that receives a subaward under this program is required to match 100% of subaward amount.
For a small entity (not more than 4,000,000 MWh sales per year), the required match will be one-third of the subaward amount.

## Slide 11: Strategic approach
Proposed Grid Resilience Grant Program 40101(d)

## Slide 12
PROGRAM NARRATIVE
Project Submissions
BIPARTISAN INFRASTRUCTURE LAW
GRID RESILIENCE FEDERAL ADMINISTRATION
PROGRAM NARRATIVE
Objectives
& Criteria Development
Policy
Initiatives (future years)
Resilience
Modernized Grid
Clean Energy
Good Paying Jobs
Equity & Justice
Community Impact
Public Hearing
& Written Input
Governance, Operational Oversight & Implementation
Metrics & Reporting
Grid Resilience Projects Executed
Stakeholder Input
SUBAWARDS
APPROVALS
BIL : DOE / NETL
SANTEE COOPER
POLICY ENTITIES
STAKEHOLDERS
LEGEND
Bipartisan Infrastructure Law – Administered by Dept of Energy & National Energy Technology Laboratory
Grid Resilience Grant Program – Administered by Santee Cooper on behalf of the South Carolina
State & Other Bodies with interests and initiatives related to Grid Resilience
Eligible Entities and all other Interested Parties
Current State – Year one GRG Program launch and submission underway
ELIGIBLE ENTITIES
Grid Resilience Subaward Project(s) – Eligible entities who have proposed & received subawards
Proposed GRG Program, BIL 40101(d)
RFPs

## Slide 13: Proposed GRG Program Objectives
Demonstrate measurable improvements in energy resilience for the South Carolina grid & mitigate climate-related risk
Invest in modernized grid infrastructure that enables consumer access to lower-cost energy and increased electrification increased variable renewable electricity and distributed energy sources other evolving system needs
Invest in clean energy & decarbonatization solutions  2035 100% clean electricity  2050 net-zero greenhouse gas emissions
Create good-paying jobs free and fair choice to be part of a represented workforce as specified in BIL
Make meaningful progress in one or more of the following
Adhere to & further the principles of equity & justice
Show a clear, positive impact on underserved communities or disadvantaged populations
BIL : DOE GOALS
FEDERAL ADMINISTRATION GOALS
Proposed GRG Program, BIL 40101(d)

## Slide 14: Proposed GRG Project Objectives
Objective #1 – Increased Monitoring & Control Capabilities
ANTICIPATED PROJECT TYPES
Installations such as
Expansion of Distribution Automation or Distribution Management Systems
Equipment for remote facility operation
Line monitoring equipment
Remote controlled sectionalizing devices
PROPOSED OBJECTIVE STATEMENT
Increased monitoring and control capabilities to provide visualization and enhance situational awareness leading up to, during, and post-extreme weather events
DRAFT METRICS
Increased number of:
  Monitored facilities
  Facilities under centralized control
  Automated line miles
  Customers benefiting from increased automation -- broken out by customers in disadvantaged/ underserved communities
Improved situational awareness / visualization for operators
Proposed GRG Program, BIL 40101(d)
Notes: POLL QUESTION

## Slide 15: Proposed GRG Project Objectives
Objective #2 – Harden or Adapt Electric System
ANTICIPATED PROJECT TYPES
Overhead to underground conversion
Upgrades of overhead facilities, such as lines and substations
Construction of redundant paths
PROPOSED OBJECTIVE STATEMENT
Harden or adapt the electric system to increase resiliency during extreme weather events
DRAFT METRICS
Avoiding or reducing consequences to:
  Key electric infrastructure – reductions in outage events & permanent facility damage
  Disadvantaged communities – expected reductions in SAIDI & CAIDI
  Priority customers – reduction in # / duration of outages, impacts, emphasis on disadvantaged communities
  Key geographic areas – avoiding wage loss & production due to disruptions
Reduction in average electric infrastructure age
Increase in % of underground line miles vs total
Reduction in # of radial line miles
Proposed GRG Program, BIL 40101(d)
Notes: POLL QUESTION

## Slide 16: Proposed GRG Project Objectives
Objective #3 – Enhance Vegetation / Minimize Risk
ANTICIPATED PROJECT TYPES
Advanced technology(ies) to improve vegetation practices (AI, satellite analytics, modeling)
Reclassification & removal of danger trees
Analytics-based adjustments to tree trimming activities to reduce vegetation risks
Reconfiguration or relocation of lines
PROPOSED OBJECTIVE STATEMENT
Enhance vegetation management programs to reduce exposure to tree-related damage to the electric system during extreme weather events or wildfires
DRAFT METRICS
Refined & optimized vegetation management
# miles cleared / # danger trees removed
Reduction in # exposed miles / customers
Reductions in # of predicted vegetation-related outages during extreme weather events
Proposed GRG Program, BIL 40101(d)
Notes: POLL QUESTION

## Slide 17: Proposed GRG Project Objectives
Objective #4 – Develop Energy Storage or Microgrids
ANTICIPATED PROJECT TYPES
Development of a microgrid(s)
Installation of battery storage at substations to serve load
Installation of distributed battery storage at critical facilities or customer locations to power the site
PROPOSED OBJECTIVE STATEMENT
Develop energy storage & microgrids to provide system adaptive capacity to increase resilience for communities and customers – e.g., systems able to provide electrical energy during disruptions
DRAFT METRICS
Number of
  MWh of resilient energy supply
  Resilient customers due to installation
  Residents benefitting from resilient public facilities – hospitals, fire, police, shelters
  More resilient community / essential locations – community centers, long-term care facilities
  Underserved residents benefitting from resilient supply
Proposed GRG Program, BIL 40101(d)
Notes: POLL QUESTION

## Slide 18
Thoughts & Questions?
Proposed GRG Program, BIL 40101(d)

## Slide 19: implementation
Proposed Grid Resilience Grant Program 40101(d)

## Slide 20: Proposed Program Criteria
Greatest community benefit
Small Utility Set Aside – 35.7% of total funding
State focused projects
Prioritize projects that deliver the greatest impact per dollar
Proposed GRG Program, BIL 40101(d)
Notes: Federal - $5,212,483
SC 15% match – $781,872
Total - $5,994,355
Small Utility Set Aside –about $2.1M

## Slide 21: Proposed Program Methods
Dedicated Program & project management
Utilize the 5% allowed for administration & technical assistance
Create set of sustainable, repeatable & adaptive processes
Provide arms-length governance, recognizing Santee Cooper may be an applicant
Goal is to maximize the value each year to the State
Proposed GRG Program, BIL 40101(d)
Notes: 5% of federal funding = about $260k

## Slide 22: Phase One – Planning & Preparation
TASK 1.0
PROGRAM MANAGEMENT & ADMINISTRATION
TASK 2.0
TECHNICAL ASSISTANCE & PLANNING
TASK 3.0
RESILIENCE PROJECT APPROVALS
Establish Program management team, office & governance framework
Submit Program Narrative & SOPO
Assure Program & grant projects conform to all aspects in the execution
Prepare & submit Project Packages
Review Proposed Subawards with DOE
Upon approval, make subawards
Includes: defining roles & responsibilities, overall schedule, RFP elements, as well as receiving and evaluating proposals and community support
Proposed GRG Program, BIL 40101(d)

## Slide 23: Phase Two – Implementation
RESILIENCE PROJECT EXECUTION
Upon DOE’s written determination – issue subawards to eligible entities to execute projects per 2CFR200, for each project
Monitor performance against Terms & Conditions
Ensure evidence of measurable progress
Verify extent to which established objectives are being realized
DOE Reporting
Briefings & Technical Presentations
Proposed GRG Program, BIL 40101(d)
TASK 4.0
Notes: s

## Slide 24: Open floor
Proposed Grid Resilience Grant Program 40101(d)

## Slide 25: In closing, what’s next…
Consider & incorporate today’s input
Accepting written input until November 14, 2022 Send to email: gridresiliencegrant@santeecooper.com
Meeting summary, recording and Q&A reports to be posted at SanteeCooper.com/GridResilienceGrant
Santee Cooper to update & finalize application
Target date to submit application: November 30, 2022
Watch for progress updates at SanteeCooper.com/GridResilienceGrant
Proposed GRG Program, BIL 40101(d)

## Slide 26
Thank you!
Please complete our survey
that will appear in your browser as you leave the meeting
We have a few more questions and would appreciate some feedback on the meeting.
Proposed GRG Program, BIL 40101(d)